## Slide 1: Hospital Beds and Nurse Call Systems: Should HTM Manage These?
Ryan Harris, CBET
Director of Healthcare Technology Management
Texoma Medical Center

## Slide 2: HTM : Why Are We Here?
To ensure that:
Medical equipment is functional and properly maintained
  Essential for patient care
Medical equipment is properly utilized
  Improves patient care
Medical equipment is maintained with financial awareness

## Slide 3: What Medical Devices are Used on Almost Every Patient that Enters the Hospital?

## Slide 4: Who Should Service These?
Help nursing and improve patient care
Justify, solidify, and increase your staff size
Hospital beds and nurse call systems have become technologically advanced
  We should be the technical experts to help caregivers navigate problems
Save money
HTM… Of Course!

## Slide 5: Bed Alarms for Patients with High Fall Risk
Bed integration to the nurse call system
HTM assistance with implementation and ongoing education

## Slide 6: Bed Exit Cable and Alarm Implementation
On the spot education
Developed instructional documents for nursing

## Slide 7: Nurse Call Alarm Customization and Demo for Training
Take programming system into your own hands
Get changes made fast when they are urgent
Demonstrate new changes to staff before they are implemented

## Slide 8: Bed Location Project
Does your facility have a process for bed storage, tracking, and logistics?
  Where are the beds?
  Where do we put the extras?
  How do we get the right bed for the patient?
  Who moves them?
We can help to develop a process
  Bed locations identified and designated
  Color coded labels
  Status of each location reported in morning leadership meeting
  Process for moving a bed and repair

## Slide 9: Bed Location Project

## Slide 10: Bed Movement Tracking
Bed transfers in or out of rooms cause damage to:
  Bed power cords, siderails, etc…
  Nurse call system components
  Walls and doors
We added the “method” of transport to our transport log:
  Find out which areas were moving beds the most
  Identify and eliminate any unnecessary bed movement

## Slide 11: Bed Mattress Management
FDA Released a notice on mattress contamination in 2013 and 2017
ECRI Top 10 Health Technology Hazards for 2018
Is there a process at your facility?
Who replaces the mattress?
Who inspects the cover and inside the mattress?
Are they being replaced at the recommended interval?
Mattress breakdown = patient dissatisfaction

## Slide 12: Looking at Work Orders to Highlight Training Needs
Air mattress problems
Air vs. foam
HTM recommended education tailored to nursing needs in 2020
Bed alarm issues per department reviewed in fall committee

## Slide 13: Shift Priorities for Rapid Support
Patient census fluctuations
COVID-19
  All beds needed during COVID surge
In house support = immediate support

## Slide 14: FTE Calculation (TMC = 414 Licensed Beds)

## Slide 15: What About a Contract?
Saved approximately $250,000 since 10-2016 (beds only)
How often will they be at your facility?
Can they provide the same level support?

## Slide 16: Questions?

## Slide 17: References
U.S. Food & Drug Administration (2017). Covers for Hospital Bed Mattresses: Learn How to Keep Them Safe. Retrieved from https://www.fda.gov/medical-devices/hospital-beds/covers-hospital-bed-mattresses-learn-how-keep-them-safe
ECRI Institute (2017). Executive Brief: Top 10 Health Technology Hazards for 2018. Retrieved from https://www.ecri.org/Resources/Whitepapers_and_reports/Haz_18.pdf