## Slide 2
Good Morning

## Slide 3: I am the Clinical Engineering Service Coordinator at Christiana Care for just over 10 years. It has been my pleasure to work here with a great Department and team members. My job has grown since I started, from answering phones, contracts, to workorder workflow, and helping the technicians as needed. And that's where our talk will start.
Clinical Engineering Service Coordinator

## Slide 5
Your solution Provider

## Slide 7: The Breakdown of Clinical Engineering:
Administration – Director, Manager, 4 supervisors, Parts, and 2 part time
Inspector Team of 4
Sterilizer Team of 3
Biomed Team of 13
Imaging Team of 9

## Slide 8: Technician’s
Modality: MRI, CT HVIS, Linacc, Mammo, Ultrasound, Anesthesia, Hemo, Ballon Pumps, Patient Monitor, pacemakers, EKG, Chambers, Sterilizers, autoclaves
Training: What is your tech trained on, who needs training
Work Schedule: Who are your early starters and who closes the shop
Family Life: find out what their family life is about.
Get to know your Tech

## Slide 9: Technician’s
What can you take off their plate for them to keep turning a wrench?
Ideas? Phone, emails, vendors……

## Slide 10: CESC Support
Bring down the assets to shop
Rounding the floors to find broken assets
Taking asset back to department
Following up on work orders
Calling for RMA/RGA
Shipping asset out
Following up on asset that are out with vendor
Once asset comes back from vendor- scan service report to work order
Cables -switch out broken cables
**reminder to document everything in the workorder
How to efficiently support Techs

## Slide 11
Philips Bilichek getting that case number and RMA can take 20 minutes on the phone
Blenders PM5200/PM5300
Sechrist Blenders
Toco/ US Transducers
M692 Thermometers
Posey Alarms
Exergen Tat-5000/Tat-5000s
Epumps
Breast Pump exchanges
PM10N Pulse ox
Devices to call for RMA

## Slide 12: Vendors
Vendors with large qualities devices (spreadsheet)
Microscopes
Autoclaves
Exercise Equipment (Rehab / Gyms)

## Slide 13: Create a spreadsheet with Modalities

## Slide 14: Asset Type and PM frequency

## Slide 15: Parts
Being able to use PartsSouce helps us with our ISO 9001
-reports generated from PartsSource
help group orders and save on shipping
helps with repairs
exchange/ core returns
Parts go into the workorder as they order them.
Cost savings too

## Slide 16
Core Return / Exchanges
DashBoard helps to see what need to be returned
Parts Person – puts this large sticker on parts ordered with an Outright/Tested Exchange helping tech to send back broken part for the exchange

## Slide 18: Benefits for the Tech
Saving time, giving techs the opportunity to do other things (Turning a Wrench)
Able to spend more time to problem solving other challenges
Having a greater impact each day on work orders
Engaging with other techs helping each other
Growth of knowledge – learned by working together
Best Part is it gives the Techs more time to spend with our Care Givers and strengthen our relationships

## Slide 20: Marketplace within Christiana Care

## Slide 21: Take Aways- Always ask the Tech as they are responsible for completed work.
Phone/Calling:
  RMA/RGA repairs, returns, core parts
  Service reports with vendor
  Scanning them to workorders
  Scheduling PM with Vendors
  Calling vendors with contracts to schedule service
Emails:
  Sending the emails to get service report
  Bring vendors in

## Slide 22: Clinical Engineering Service Coordinator
By adding these tasks to Operation Team, I was able to add a second part time person and move up to Supervisor.

## Slide 25
Thank You
Theresa Street
Blake Collins
302.733.3555
BLCollins@christianacare.org
TheresaMarie.Street@christianacare.org